## Sheet1
PART C
Pin | Voltage | mV
7 | 1.9418 | 1941.8
6 | 0.96229 | 962.29
5 | 0.3674 | 367.4
4 | 141.195mV | 141.195
3 | 53.223mV | 53.223
2 | 18.812mV | 18.812 | Thevenin Resitance | K Ohm |  | This table is for when we were balancing the impendance
1 | 5.245mV | 5.245 | Inverting side | 0.98567
0 | 0.902mV | 0.902 | Non-inverting Side | 0.68405
base | 0.898mV | 0.898 |  | Ohm
|  |  | Diff | 301.62 |  | These measurements are with a 300Ohm resistor on the non-inverting input side
1K load at output |  |  |  | 1K Load at output |  | 50Ohm Load |  | 100Ohm Load |  | 220Ohm Load |  | 470Ohm Load
base | 0.923mV |  |  | Pin | V | Pin | V | Pin | V | Pin | V | Pin | V
0 | 0.920mV |  |  | 7 | 1.94289V | 7 | 1.94168V | 7 | 1.94268V | 7 | 1.94374V | 7 | 1.9483V
1 | 5.256mV |  |  | 3 | 53.054mV | 3 | 52.918mV | 3 | 53.048mV | 3 | 53.256mV | 3 | 53.263mV
2 | 18.803mV
3 | 53.179mV
4 | 141.047mV
5 | 0.36704V
6 | 0.96124V
7 | 1.93948V
This table is using data from the table in PART C, to determine bits for the quasi waveform we made
PART B
Pin
Base | -1.140mV
0 | -0.520mV
1 | 2.65mV
2 | 9.585mV
3 | 26.896mV
4 | 71.045mV
5 | 184.546mV
6 | 0.48302V
7 | 1.2502V
1K Load at output
Pin
Base | -0.659mV
0 | 0.344mV
1 | 3.380mV
2 | 10.244mV
3 | 27.509mV
4 | 71.650mV
5 | 185.123mV
6 | 0.48354V
7 | 1.2506V
Part D